Cell parameter determination, a typical sequence of commands

1.: Set modi

BR

(TE)

2.: Prepare loading of patterns (clean memory A)

AD or AX (former: AE): delete or exclude "foreign" patterns

(ND)

3a. Get patterns

if read from file P:  PG

3b. Load patterns

(DS : if ND is to be applied)

AP

loop 3a – 3b

4:  Prepare cell parameter determination

PC

5. Run cell parameter determination

DC

6. Inspection of solutions

CW

6a. Analysis (Delaunay reduction) of solutions.

Depending on the situation: CG, DE, SD

6b. If SD was applied:

CG, DE

7: Enforce conditions prescribed by the crystal class

IS